| System / Detector Characteristic | Experiment | Variable Parameters |
| --- | --- | --- |
| System Noise | Shorted Input |  |
| ROIC Gain | EGain | t |
| Conversion Gain | Fe55 | t, vsub |
| Amplifier Gain | EGain | ampli, freq |
| Dark Current | darkcurrent | t, vsub, biases |
| Read Noise | darkcurrent | t, t |
| Crosstalk | darkcurrent, ipc, Fe55 | λ, t |
| Quantum Efficiency | QE | λ, t, flux |
| Persistence | persistence | λ, t, flux, reset, …fluency |
| IPC | IPC | λ, t, flux, reset, …fluency |
| Linearity | Linearity/Well Depth | λ, flux, fluency, t |
| Well Depth | Linearity/Well Depth | λ, flux, fluency, t |